## Specs
Model | Inrush LSL (A) | Inrush USL (A) | Cont LSL (A) | Cont USL (A) | Inrush Window (ms) | Settle (ms) | Avg Window (ms) | Release (ms) | Cycles | Cycle Gap (ms) | Stagger (ms)
TG Charge (BSBC7-600B) | 1.2 | 3.3 | 0.2 | 0.35 | 1000 | 2000 | 3000 | 500 | 5 | 5000 | 1500
TG Discharge (BSBC7-200) | NA | NA | 0.5 | 0.7 | 1000 | 2000 | 3000 | 500 | 5 | 5000 | 1500
PL Charge (BSBC7-350) | 1.2 | 1.7 | 0.16 | 0.25 | 1000 | 2000 | 3000 | 500 | 5 | 5000 | 1500
PL Discharge (BSBC7-100) | NA | NA | 0.4 | 0.55 | 1000 | 2000 | 3000 | 500 | 5 | 5000 | 1500
Notes:
One row per model, max 8 models. Do not rename this tab or change the header row.
Write NA in both Inrush columns to measure in-rush without judging it (e.g. Discharge models).
Timings are measured from relay ON: in-rush peak in [0, Inrush Window], average + continuity in [Settle, Settle + Avg Window].
Release = wait after relay OFF before checking the contact opened. Cycle Gap = rest between cycles of one channel.
Stagger = delay between the start of consecutive channels (keeps in-rush currents from overlapping).
Cycles: 1 to 5 (the Results tab has columns for 5 cycles).

## Operators
Operator Name | Operator Password | Max 10 operators. Password is checked on the login screen; leave it empty for no password.
Operator 1 | password 1
Operator 2 | password 2
Operator 3 | password 3

## Results
S.No | Serial | Timestamp | Operator | Model | Channel | Overall | Fail Step | 1- Contin. OFF | 1- Inrush (A) | 1- Inrush P/F | 1- Cont (A) | 1- Cont P/F | 1- Contin. ON | 1- Release | 2- Contin. OFF | 2- Inrush (A) | 2- Inrush P/F | 2- Cont (A) | 2- Cont P/F | 2- Contin. ON | 2- Release | 3- Contin. OFF | 3- Inrush (A) | 3- Inrush P/F | 3- Cont (A) | 3- Cont P/F | 3- Contin. ON | 3- Release | 4- Contin. OFF | 4- Inrush (A) | 4- Inrush P/F | 4- Cont (A) | 4- Cont P/F | 4- Contin. ON | 4- Release | 5- Contin. OFF | 5- Inrush (A) | 5- Inrush P/F | 5- Cont (A) | 5- Cont P/F | 5- Contin. ON | 5- Release

## README
Contactor IQC Rig - Google Sheet
Specs : limits and timings per model. Read by the rig at boot and on SYNC NOW.
Operators : names (column A) and passwords (column B) for the login screen, max 10.
Results : ONE ROW PER CONTACTOR, written by the rig. Do not type in this tab.
Results columns:
S.No row number (=ROW()-1)
Timestamp when the unit finished (IST). A * at the end = the rig was offline; this is the upload time.
Channel rig slot CH1..CH5
Overall PASS (all cycles passed) / FAIL / ABORTED (STOP ALL)
Fail Step step that failed, e.g. In-rush, Continuous current, Contin ON: OPEN, Contin OFF: CLOSE, Release: CLOSE
n- ... results of cycle n (Contin. OFF, Inrush A, Inrush P/F, Cont A, Cont P/F, Contin. ON, Release)
-NA- not tested (stopped at an earlier failure, or cycle never run)
NA measured but not judged (the model has no limit for it)
Do not rename the tabs or edit the header rows - the firmware looks them up by name.